**Industrial Weight Checker – Type 01 – v1.0**

**Buttons**

* S: select
* <: up
* >: down

**Work Modes:**

* Calibration
* Configuration
* Running

**Menu browsing:**

* To enter Calibration long press S on boot
* To enter Configuration long press S during Running mode
* To save settings long press S on Calibration or Running mode
* In menu Press S to skip to next mode
* Press < or > to change the values

**Configuration Menu**

* Interval: times between weights (sec)
* Num Errors: number of error to wait for an Alert to be triggered
* Diff Error: threshold difference between current and previous weight to trigger and error
* Tare: set tare, long press < to set
* Alert Enabled: enable or disable the Alert triggering
* Skip Interval: skip timer activation time (min), 0 to disable
* Skip Time: skip time (min)

**Calibration Menu**

* Cal. Gain: weight sensor gain
* Cal. Offset: weight sensor offset/tare, leave the scale empty and long press < to set
* Cal. Weight: reference wieght for calibration
* Cal Scale: weight sensor scale, put the Cal Weight on the scale, long press < to set

**Running mode:**

* Press < to view the remaining time till the next skip
* On Alert, long press > to reset